1. Room 206 has floor holes that are a trip hazard in Marion Ady.

2. Marion Ady has cement blocks that are being used as door stops which are a tripping hazard.

3. TV's are blocking exit routes.

4. Outside of Kilm room, power strip is overloaded with fridge and microwave.

5. Molds are stacked on top shelves with no fall protection

6. Flammable material stored under stairs in Marion Ady and Art.