soulogoblack60x110Southern Oregon University

Occupational Safety Advisory Committee (OSAC)

Minutes

Meeting Date & Time: Oct. 25th 2016 at 8:30 a.m.

Chaired by: Joel Perkins

Members in Attendance:

|  |  |  |
| --- | --- | --- |
| **Michele Barlow** | **Russell Deen** | **Doug Walborn** |
| **Fred Creek** | **Treasa Sprague** | **Pam D’Allura** |
| **Keith Beed** |  |  |

|  |
| --- |
| * Inspection of Stadium remodel |

|  |
| --- |
| 1. Fire extinguishers need mounted to walls a work request has been submitted for the the fire extinguisher mounting 1465.  2. Flammable need moved from under stair case interior  3. Announcer booth wires need organized to eliminate trip hazard  4. Electrical extension cord in training room that is used for vehicle recharging has excessive angle and needs moved  5. Space heater in last viewing box is outdated and needs replaced with approved model of space heater |